Status:

Done

Pending

Must be discussed

- In "Mass Spectrometry (Imaging)" meta data, when hovering over the question mark for "Ionization" I get a text "This just to make sure that we don't get any other ionization types". It should more like "please select the ionization method" :)  I realize this is my mistake in the original excel sheet, so need to fix this.

Added it to the next update. Great 👍

- The free-text fields for "other <analyzer/equipment/etc>" is too big for the job, can't it be made a bit thinner?!

Yes, it could be made thinner but then it would sometimes make the structure a bit confusing. What I mean by confusing: field related to a dropdown could be in the same or split over two lines. So, the other field and a new dropdown would be in one line. Therefore, I decided to go with the big boxes to make the structure clearer. If you still suggest thinner boxes and your group agrees I can, of course, change it.

This is just a suggestion, let's leave it as is to be less confusing.

- I am not sure where the field "%Reduction" comes from?!

This field came from Stefan, and it is already updated due to Stefans’s suggestion. This field I now lead by the field “Data reduction”. So first you can use the dropdown with yes and no in Data reduction to specify whether data reduction has been applied and after that use the text box %Reduction for the applied value.

Understood.

- In my opinion, "Laser Spot Size" should also be a free text like "raster step size".

This dropdown came from Stefan’s suggestions in the first feedback round. So, it would be best to discuss this in your group.
@Stefan and @Alexandra, to be future-proof (in case Bruker invents a different spot size!), I still think it should be free text. Do you agree?
We should be able to edit the laser spot size indeed, as we normally use imaging 5, 10, 20um, or other, but we might also use the dried droplet, or M5 laser spot or who knows what and in case it is not an option in the drop down, then free text should work.

Changed Laser Spot Size to free text

- "Processing" should either be a multiple option list or simply a free text.

Also, from the first feedback round. So, it would be best to discuss it in your group as well.

@Stefan and @Alexandra, do you agree?

Here processing can mean a lot of things: imported into SCiLS, generated imzML, peak picking, etc. I guess free text gives space for whatever the user considers as processing, but might also confuse the user because we never defined what lies within that category. I honestly don’t know what would be best.

Processing would be renamed to "Other Preprocessing" and would be a free text

Processing was removed with feedback from Stefan because it was a duplicate to Data Type

Added Other Preprocessing as free text after processing methods

- alright, in the discussed we throught it would be best to keep the normalization and add several other processing methods as follows:

- Smoothing: Sawitzky-Golay, Moving Average, Other, None.

- Normalization: TIC, RMS, Median, Peak (please indicate mz and tolerance), Other or None.

- Peak Detection (only for centroid data): Vendor (Meaning: done in instrument), Mean-Spectrum-based, Pixel-wise, None or Other.

Added Smoothing, Normalization and Peak Detection with dropdowns

choose one of ('Sawitzky-Golay', 'Moving Average', 'Other', 'None')

choose one of ('TIC', 'RMS', 'Median', 'Peak (please indicate mz and tolerance)', 'Other', 'None')

choose one of ('Vendor (Meaning: done in instrument)', 'Mean-Spectrum-based', 'Pixel-wise', 'Other', 'None')

Added other Smoothing, Normalization and Peak Detection as textboxes

Added peak_normalization_msi for indicating mz and tolerance

- Now I also see there is a second "%Reduction" field.

This is already in the next update.
Great 👍

- "Normalization" should precede "processing" and I would suggest to rename "processing" to "other preprocessing".

I can totally implement this. I would only ask you to discuss this with your colleges first because the structure came mostly from the first feedback round.
@Stefan and @Alexandra, do you agree?
Same as before, we might need to sit down and have an agreement what exactly we mean by preprocessing and processing. Maybe after we discuss we can add a suggestion box when you hover over that option.

Processing was removed with feedback from Stefan because it was a duplicate to Data Type

Added Other Preprocessing as free text after processing methods

- in "Sample preparation" the "Acquisition Type" help shows only two options that are actually listed in the drop-down menu.

I just included it for the next update.

Great 👍

- The help field of "section thickness" has a typo -> Aum instead of um.

Very strange. In my test instance it is displayed correctly. I’ll check it when I update the real one. From what I see it is related to the Greek letter

Great 👍

- Also "section tickness" has a type -> Thickness.

Just added it to the next update. You also need to know that with Alexandras and Stefan’s suggestions there is a major update coming. We decided to create a separate metadata block for sample information with information related to the sample preparation and reduced this section in IR and MALDI.

Sounds good 👍

- "Scannertype" should be "Scanner Type".

Just included it for the next update.

Great 👍

- But the biggest issue, is that I tried to upload (on purpose) a big file (~10GB), which did not work out. It just stopped while uploading and then when I pressed save, nothing was included into the dataset.

This is due to my nginx configuration. Nginx is the revers proxy I use to front Dataverse, and it has an upload limit set to 2 G. I thought it would be enough for testing. I just unrestricted the allowed upload size. Additionally is set Dataverse to allow upload size up to 500 GB

Understood.