Hi Denis,

Thank you for your feedback. I’ll get to each point below. Some of them are already updated based on Alexandra’s and Stefan’s feedback

- In "Mass Spectrometry (Imaging)" meta data, when hovering over the question mark for "Ionization" I get a text "This just to make sure that we don't get any other ionization types". It should more like "please select the ionization method" :)  I realize this is my mistake in the original excel sheet, so need to fix this.

  - Updated it.

- The free-text fields for "other <analyzer/equipment/etc>" is too big for the job, can't it be made a bit thinner?!

  - Yes, it could be made thinner but then it would sometimes make the structure a bit confusing. What I mean by confusing: field related to a dropdown could be in the same or split over two lines. So, the other field and a new dropdown would be in one line. Therefore, I decided to go with the big boxes to make the structure clearer. If you still suggest thinner boxes and your group agrees I can, of course, change it.

- I am not sure where the field "%Reduction" comes from?!

  - This field came from Stefan, and it is already updated due to Stefans’s suggestion. This field I now lead by the field “Data reduction”. So first you can use the dropdown with yes and no in Data reduction to specify whether data reduction has been applied and after that use the text box %Reduction for the applied value.

- In my opinion, "Laser Spot Size" should also be a free text like "raster step size".

  - This dropdown came from Stefan’s suggestions in the first feedback round. So, it would be best to discuss this in your group.

- "Processing" should either be a multiple option list or simply a free text.

  - Also, from the first feedback round. So, it would be best to discuss it in your group as well.

- Now I also see there is a second "%Reduction" field.

  - This is already updated.

- "Normalization" should precede "processing" and I would suggest to rename "processing" to "other preprocessing".

  - I can totally implement this. I would only ask you to discuss this with your colleges first because the structure came mostly from the first feedback round.

- in "Sample preparation" the "Acquisition Type" help shows only two options that are actually listed in the drop-down menu.

  - I just updated this.

- The help field of "section thickness" has a typo -> Aum instead of um.

  - Very strange. In my test instance it is displayed correctly. I’ll check it when I update the real one. From what I see it is related to the Greek letter

- Also "section tickness" has a type -> Thickness.

  - Just updated it. You also need to know that with Alexandras and Stefan’s suggestions there is a major update coming. We decided to create a separate metadata block for sample information with information related to the sample preparation and reduced this section in IR and MALDI.

- "Scannertype" should be "Scanner Type".

  - Just updated it.

- But the biggest issue, is that I tried to upload (on purpose) a big file (~10GB), which did not work out. It just stopped while uploading and then when I pressed save, nothing was included into the dataset.

  - This is due to my nginx configuration. Nginx is the revers proxy I use to front Dataverse, and it has an upload limit set to 2 G. I thought it would be enough for testing. I just unrestricted the allowed upload size.

I think it would be a good idea to talk about this in person next week. I just wanted to give you a brief reply. I’ll implement the next update to the metadata with Stefan’ Alexandra’s and your suggestions start of next week (except the ones to be discussed).

Best,

Tim